## Slide 1: Introduction to Electrical Engineering

## Slide 2: Overview
Physical Principles and Basic Concepts
Direct Current Circuits
Electric and Magnetic Fields
Alternating Current Technology
Wrap-Up and Outlook

## Slide 3: Wrap-Up and Outlook
Summary using Applications
Outlook
  Semiconductor Devices and Electronics
  Energy Systems
  Information Systems
  Control Systems
  Embedded Systems

## Slide 4: Fuse and Circuit Breaker
protect circuits from excess current, which is usually caused by:
overload (more devices than the circuit can handle)
short circuit (very low resistance path)
typically 16 A for power outlets:
maximum continuous power (assuming 230 V): P = V I = 230 V 16 A = 3680 W
this is enough to power several devices at once, like: 1–2 kettles, 1 microwave, some small appliances together
Beyond 16 A, the circuit breaker trips to prevent overheating and fire risk.

## Slide 5: Residual Current Device (RCD)
circuit for fault current measurement (30 mA)
to ensure electrical safety

## Slide 6: Capacitive Touchscreen

## Slide 7: Inductive Sensor

## Slide 9: Semiconductor Devices and Electronics
diodes and transistors — switching and amplification
operational amplifiers — building blocks for analog circuits
analog circuit design — filters, amplifiers, signal conditioning
digital electronics — logic gates

## Slide 10: Energy Systems
generation, conversion, and distribution of electrical power
transformers and power converters
power electronics

## Slide 11: Information Systems
transmitting and processing information
signal processing
time-domain vs. frequency-domain analysis
Fourier and Laplace transforms
communication systems
amplitude/frequency modulation (AM/FM)
digital modulation
noise, bandwidth, and filtering concepts
communication channels and data transmission

## Slide 12: Control Systems
feedback, stability, and dynamic response
root locus, Bode, and Nyquist techniques
PID control and real-world applications (motors, robotics)

## Slide 13: Embedded Systems
hardware–software integration
microcontrollers and digital systems
sensors, actuators, and real-time control