## Slide 1: Introduction to Electrical Engineering

## Slide 2: Overview
Physical Principles and Basic Concepts
Direct Current Circuits
Electric and Magnetic Fields
Alternating Current Technology
Wrap-Up and Outlook

## Slide 3: Direct Current Circuits
Reference Directions
Kirchhoff‘s Current Law
Kirchhoff‘s Voltage Law
Series Circuit
Parallel Circuit
Practical Voltage & Current Sources
Network Analysis
Efficiency & Power/Impedance Matching
Voltage & Current Measurement

## Slide 4: Direct Current (DC)
one-directional (typically constant) flow of electric charge
time dependent
(AC)

## Slide 5: Circuit Calculations
goal: calculate currents and voltages
network: interconnection of electrical components/elements (often large-scale)
circuit: closed-loop network (rather small)
fundamental concepts:
nodes (junctions)
branches
loops
(but a node)

## Slide 6: Short and Open Circuits
short circuit: circuit element with resistance approaching zero
open circuit: circuit element with resistance approaching infinity

## Slide 7: Reference Directions
>
I
V
before calculation of voltages and currents:
arbitrary choices
define positive current directions
define voltage directions to
after calculation:
negative value  actual direction opposite of chosen reference direction

## Slide 8
>
I
V
also correct:
Will just result in negative values for I and V!

## Slide 9: Sign Conventions
passive sign convention:
reference direction of current points into positive reference terminal of voltage
for power flowing into component (passive component)
for active component
active sign convention:
reference direction of current points into negative reference terminal of voltage
for power flowing out of component (active component)
for passive component
more common

## Slide 10: Kirchhoff‘s Current Law (KCL)
sum of all currents entering a junction (node) equals sum of all currents leaving that junction (conservation of charge)

## Slide 11: Kirchhoff‘s Voltage Law (KVL)
sum of all voltage drops around any closed loop equals to zero (conservation of energy)

## Slide 12: Series Circuit
sum of potential drops around a closed loop equals supply voltage (KVL)
same current through all components (only one path)

voltage divider rule:
for two resistors:
equivalent resistance:
exhibits same characteristics as original network at considered­ terminals

## Slide 13: Parallel Circuit
sum of branch currents equals current from source (KCL)
same voltage across each branch (KVL)

current divider rule:
for two resistors:
connected to the same two nodes

## Slide 14: Practical Voltage Source
ideal voltage source in series with internal resistance
 voltage dependent on load
ideal voltage source:
equivalent circuit of real component
I
RIN

## Slide 15: I-V Curves
nonlinear
(considerations here only apply to linearized region around operating point)

## Slide 16: Practical Current Source
internal resistance in parallel with ideal current source
 current dependent on load

## Slide 17: Several Independent Sources
simplification by means of superposition principle in linear circuits:
turn on one source at a time (others turned off: replace voltage sources with short circuits and current sources with open circuits)
find its contribution to the terminal voltage/current
add all contributions
additionally, single “turn off all” reduction to get
Norton‘s theorem:
Thévenin‘s theorem:
Norton-Thévenin conversion:
any linear circuit seen from two terminals

## Slide 18: Circuit Analysis
approach for mixed circuits:
reduce series groups (same current path): add resistances
reduce parallel groups (same two nodes): add conductances
redraw after each combine, repeat
example: total resistance between 1 and 2

## Slide 19: Bridges
How to solve this one?
 convert the bridge with Y-Δ transform
(simplification by using three-terminal equivalent networks)

## Slide 20: Y-Δ Transform
transformation from Δ to Y:
transformation from Y to Δ:
idea of Y-Δ equivalence:
define same effective resistance between corresponding terminals
e.g., for and :

## Slide 21
Δ to Y
combine

## Slide 22: Systematic Network Analysis
for DC resistive networks
represent the network
formulate equations: choose analysis method (different heuristics) and apply KCL / KVL / Ohm’s law accordingly
solve the resulting system of linear equations

## Slide 23: Representation
B
B
B
B
B
B
N
N
N
N
graph
reference
directions

## Slide 24: Formulation of Equations
for network with nodes: linearly independent node equations
here:
N1:
N2:
N3:
for branches: linearly independent loop equations
here:  need to pick 3 out of the 6 loops

## Slide 25: Approach 1: Use Meshes
meshes: smallest possible loops, not enclosing any other loop
here: 3 meshes give 3 linearly independent loop equations
one more alternative: mesh analysis

## Slide 26: Approach 2: Method of Complete Tree
M1:
M3:
M4:
get fundamental loops (not necessarily meshes) by adding the different co-tree branches back to the tree
choose one tree:
tree: set of branches connecting all nodes without forming any loop
co-tree: all branches – tree branches

## Slide 27: System of Linear Equations

## Slide 28: Alternative: Nodal Analysis
sometimes simpler approach:
select one node as reference node with an arbitrary potential (typically ground, i.e., )
apply KCL to non-reference nodes
apply Ohm‘s law to express currents in terms of node voltages:
substitute and solve
here: node1: node2:
redrawn with currents:
here:

## Slide 29: Efficiency
example:
A device draws and has a useful output of .
 , i.e., wasting of the input power
useful output

## Slide 30: Power/Impedance Matching
practical voltage source with resistive load:
maximum power transfer:
at
at

## Slide 31: Voltage and Current Measurement
connected in parallel
ideal:
connected in series
ideal:

## Slide 32: Simultaneous Measurement
for power measurement: need for simultaneous measurement of voltage and current
measurement correct for current
preferable for high
measurement correct for voltage
preferable for low