## Slide 1: Introduction to Electrical Engineering

## Slide 2: Overview
Physical Principles and Basic Concepts
Direct Current Circuits
Electric and Magnetic Fields
Alternating Current Technology

## Slide 3: Alternating Current Technology
Sinusoidal Waveform
Phasor Representation
Network Analysis in Phasor Domain
AC Power
Frequency-Dependent Voltage Divider
Resonant Circuits

## Slide 4: Alternating Current (AC)
periodically reverses direction and changes its magnitude continuously with time

## Slide 5: AC Waveforms

## Slide 6: Sinusoidal AC
usual form of AC in most electric power circuits: sine wave
,
frequency:
angular frequency:
peak voltage/current (amplitude) ,
peak-to-peak amplitude:
RMS ,
period (cycle time)

## Slide 7: Root Mean Square (RMS)
The RMS of an AC corresponds to the DC value that generates the same amount of heat in a resistor.  effective value
mean itself is zero for pure AC:
RMS of sum of mixed-frequency currents:

## Slide 8
Chart: 
sine
squared
RMS

## Slide 9: Phase Shift
Chart: 
wt
In this example, the current lags behind the voltage.
phase shift (for two currents with same frequency):
phase shift between voltage and current (with current as reference):

## Slide 10: Phasor Representation
U1
U2
U2
U
U1
U2
-U2
U
addition:
subtraction:
phasor diagram:
phasor calculations only work for quantities with same frequency
 freeze rotation in time to get stationary phasors

## Slide 11: Use of Complex Numbers
phasors can be represented by complex numbers:

## Slide 12: Complex Amplitude
complex amplitude:
complex RMS:
can be ignored if all quantities have the same frequency
 stationary phasors
complex

## Slide 13: Transformation into Phasor Domain
time-dependent voltage | complex amplitude
time-dependent voltage | complex amplitude

## Slide 14: Back Transformation into Time Domain
multiplication with (phasors are stationary)
consider only real part of the complex number (or imaginary part if sine was used instead of cosine)

## Slide 15: Derivation in Phasor Domain
 phase shift of
example:

## Slide 16: Integration in Phasor Domain
 phase shift of
example:

## Slide 17: Complex Resistance
impedance:
Ohm‘s law in phasor domain: or
resistance
reactance
modulus of impedance
(apparent impedance)
impedance angle
abstract quantity

## Slide 18: Complex Conductance
admittance:
conductance
susceptance
modulus of admittance
(apparent admittance)
admittance angle
abstract quantity

## Slide 19: Linear Passive Components
R |  | 
L |  | 
C |  | 
R |  | 
L |  | 
C |  | 
: and in phase ()
: leads by 90°
: lags by 90°
must consider angles:

## Slide 20: Network Analysis in Phasor Domain
KCL and KVL also valid for complex amplitudes and RMS values

## Slide 21: Example
…

## Slide 22: Instantaneous Power
For a purely ohmic resistance, current and voltage are in phase:
for passive sign convention  passive component

## Slide 23: Average Power
area under power curve: electrical energy converted into heat in a resistor
average power (aka active power for resistance):
resistance

## Slide 24: Reactive Power
for reactance (capacitor or inductor): phase shift of between and
 not converted into heat or useful work

## Slide 25: Apparent Power
mixed case for resistive-capacitive or resistive-inductive load:
purely active for
purely reactive for or
average power:
apparent power:
electrical devices must be designed for the apparent power to be transmitted

## Slide 26: Complex Power
with
active power
reactive power
apparent power

## Slide 27: Reactive Power Compensation
The absorption of inductive reactive power corresponds to the output of capacitive reactive power and vice versa:
 can compensate each other (useful to avoid transmission losses)
resistive-inductive load
can be compensated by capacitor

## Slide 28: Example
…