## Slide 1: Introduction to Electrical Engineering

## Slide 2: Overview
Physical Principles and Basic Concepts
Direct Current Circuits
Electric and Magnetic Fields
Alternating Current Technology
Wrap-Up and Outlook

## Slide 3: Alternating Current Technology
Sinusoidal Waveform
Phasor Representation
Network Analysis in Phasor Domain
AC Power
High- & Low-Pass Filters
Resonant Circuits
Three-Phase Circuits

## Slide 4: Alternating Current (AC)
periodically reverses direction and changes its magnitude continuously with time

## Slide 5: AC Waveforms

## Slide 6: Sinusoidal AC
usual form of AC in most electric power circuits: sine wave
,
frequency:
angular frequency:
peak voltage/current (amplitude) ,
peak-to-peak amplitude:
RMS ,
period (cycle time)

## Slide 7: Root Mean Square (RMS)
The RMS of an AC corresponds to the DC value that generates the same amount of heat in a resistor.  effective value
mean itself is zero for pure AC:
RMS of sum of mixed-frequency currents:

## Slide 8
Chart: 
sine
squared
RMS

## Slide 9: Phase Shift
Chart: 
wt
In this example, the current lags behind the voltage.
phase shift (for two currents with same frequency):
phase shift between voltage and current (with current as reference):

## Slide 10: Phasor Representation
U1
U2
U2
U
U1
U2
-U2
U
addition:
subtraction:
phasor diagram:
phasor calculations only work for quantities with same frequency
 freeze rotation in time to get stationary phasors

## Slide 11: Use of Complex Numbers
phasors can be represented by complex numbers:

## Slide 12: Complex Amplitude
complex amplitude:
complex RMS:
can be ignored if all quantities have the same frequency
 stationary phasors
complex

## Slide 13: Transformation into Phasor Domain
time-dependent voltage | complex amplitude
time-dependent voltage | complex amplitude

## Slide 14: Back Transformation into Time Domain
multiplication with (phasors are stationary)
consider only real part of the complex number (or imaginary part if sine was used instead of cosine)

## Slide 15: Derivation in Phasor Domain
 phase shift of
example:

## Slide 16: Integration in Phasor Domain
 phase shift of
example:

## Slide 17: Complex Resistance
impedance:
Ohm‘s law in phasor domain: or
resistance
reactance
modulus of impedance
(apparent impedance)
impedance angle
abstract quantity

## Slide 18: Complex Conductance
admittance:
conductance
susceptance
modulus of admittance
(apparent admittance)
admittance angle
abstract quantity

## Slide 19: Linear Passive Components
R |  | 
L |  | 
C |  | 
R |  | 
L |  | 
C |  | 
: and in phase ()
: leads by 90°
: lags by 90°
must consider angles:

## Slide 20: Network Analysis in Phasor Domain
KCL and KVL also valid for complex amplitudes and RMS values

## Slide 21: Example 1
The current through the circuit and the voltage across the coil are to be determined.

## Slide 22: Example 1

## Slide 23: Example 1

## Slide 24: Example 1 with Numbers

## Slide 25: Example 2
What capacitance must the capacitor have so that the light bulb is connected to the voltage ?



## Slide 26: Example 3


## Slide 27: Instantaneous Power
For a purely ohmic resistance, current and voltage are in phase:
for passive sign convention  passive component

## Slide 28: Average Power
area under power curve: electrical energy converted into heat in a resistor
average power (aka active power for resistance):
resistance

## Slide 29: Reactive Power
for reactance (capacitor or inductor): phase shift of between and
 not converted into heat or useful work

## Slide 30: Apparent Power
mixed case for resistive-capacitive or resistive-inductive load:
purely active for
purely reactive for or
average power:
apparent power:
electrical devices must be designed for the apparent power to be transmitted

## Slide 31: Complex Power
with
active power
reactive power
apparent power
power factor:
measure of how effectively electrical power is being converted into useful work output

## Slide 32: Reactive Power Compensation
The absorption of inductive reactive power corresponds to the output of capacitive reactive power and vice versa:
 can compensate each other (useful to avoid transmission losses)
resistive-inductive load
can be compensated by capacitor

## Slide 33: Example
A motor (, , , ) is to be compensated using a capacitor.
without capacitor:
,
,
reactive current needs to be compensated by capacitor:
,

## Slide 34: Frequency-Dependent Voltage Divider

## Slide 35: High-Pass RL Filter
Chart: 

## Slide 36: Low-Pass RL Filter
Chart: 

## Slide 37: RC Filters
high-pass filter
low-pass filter
first-order filters: either a capacitor or an inductor

## Slide 38: Series Resonant Circuit
resonance frequency : inductive and capacitive reactances cancel each other out
forced oscillation
damping

## Slide 39
Chart: 
Chart: 
capacitive range
inductive range
ω0
only
phase shift between source voltage and current:
impedance minimal at resonance:

## Slide 40: Voltage Resonance
for :
quality factor
can be
 voltages across inductor and capacitor can be significantly larger than the source voltage (resonance catastrophe)

## Slide 41
Chart: voltage divided by source voltage
ω0
phase shift of
 maximum for ω=ω0: (also maximum current)
maximum of slightly above ω0
maximum of slightly below ω0

## Slide 42: Voltage Maxima
 no maxima for
resonance behavior more pronounced the higher



## Slide 43: Parallel Resonant Circuit
admittance minimal at resonance (impedance maximal)  total current minimal ()
below : determined by inductance
above : determined by capacitance

## Slide 44: Current Resonance
resonance:
 current through inductor and capacitor can be larger than the source current

## Slide 45: Current Maxima


 again, no maxima for

## Slide 46: Second-Order Filters
load
load
rejector circuit:
impedance peak at resonance
acceptor circuit:
admittance peak at resonance

## Slide 47: Three-Phase Circuits
idea:
three alternating currents of the same frequency and amplitude but phase-shifted by 120° from each other
motivation:
constant power transmission
generation of rotating magnetic field  electric motor

## Slide 48: Three-Phase Generator
rotor: (mechanically) rotating magnetic field (generated by coil with DC or permanent magnet)
stator: three coils offset by 120°
induces sinusoidal alternating voltage in each coil, phase-shifted by 120°
phase identifiers on motor terminals

## Slide 49: Three-Phase Network
three phases
neutral conductor (optional: return wire not absolutely necessary)
line voltages (also )
phase voltages
(also )
loads (e.g., motor)

## Slide 50: Star (Y) Connection
no current in for symmetric loads (the three currents add to 0)
 could be removed

## Slide 51: Phase Voltages
typical European system:

## Slide 52: Line Voltages
typical European system:
for example:

## Slide 54: Power for Symmetrical Load

## Slide 55: Constant Power
for symmetrical, purely resistive load:


## Slide 56: Delta (Δ) Connection
no neutral point
3

## Slide 57: Power Consumption
for both star and delta:
but for star:
,

while for delta:
,

